ET-100B Ear Thermometer IR Infra-Red Digital LCD In-Ear Temperature +Stand T2

Ear Temperature LCD Digital IR Infrared Medical Baby Adult Thermometer Safe

DIGITAL INFRARED EAR THERMOMETER FOR BABIES CHILDREN ADULTS

ET-100B Digital LCD Infrared Ear Temperature Thermometer Baby Children Adult

Specification:

This clinical thermometer device complies with the requirements of IEC 60601-1, IEC 60601-1-11 and IEC 60601-1-2.

CE safety marked

for child or adults

This thermometer takes both ear and forehead temperature

Multiple function 4in1: digitally measures ear, forehead, room temperature and clock

Range of displayed temperature: 32.0C - 42.9C (95.9F - 107.6F)

Operating ambient: temperature: 16-35C, humidity -80%RH

Accuracy: +-0.2C (+-0.4F)

Low battery warning

LCD display

Battery: 3V lithium battery (CR2032) Included

battery life : 2000 takes

Dimension: 120mm*35mm*25mm approx

Package content:

-device

- English user manual

- Stand